## Sheet1
title | variable | references | description
| MAIN DIST BRKR AC |  | MAIN DISTRIBUTION BREAKER AC
| CTRL BRKR IPC & HMI & MAIN CPLR PWR |  | CONTROL BREAKER PANELS 3 & 4 FOR IPC & HMI & MAIN COUPLER POWER
| CTRL BRKR IPC & HMI & MAIN CPLR PWR |  | CONTROL BREAKER PANEL 7 FOR SERVO
| CTRL BRKR HV |  | CONTROL BREAKER PANEL 11 FOR HV
RESERVED - PUMP P1
RESERVED - PUMPS P11,P12,P2
RESERVED - DOORS, LIGHTS, PUMP P3
RESERVED
RESERVED
RESERVED
| MAIN_L1_CUR_ACT |  | MAIN L1 CURRENT TRANSDUCER
| MAIN_L2_CUR_ACT |  | MAIN L2 CURRENT TRANSDUCER
| MAIN_L3_CUR_ACT |  | MAIN L3 CURRENT TRANSDUCER
| MAIN DISTR LUG L1 |  | MAIN DISTRIBUTION LUG FOR L1
| MAIN DISTR LUG L2 |  | MAIN DISTRIBUTION LUG FOR L2
| MAIN DISTR LUG L3 |  | MAIN DISTRIBUTION LUG FOR L3
| MAIN DISTR LUG NEUTRAL |  | MAIN DISTRIBUTION LUG FOR NEUTRAL
| MAIN DISTR LUG PE |  | MAIN DISTRIBUTION LUG FOR PE
| MAIN DISTR TB L1 |  | MAIN DISTRIBUTION TERMINAL BLOCKS FOR L1
| MAIN DISTR TB L2 |  | MAIN DISTRIBUTION TERMINAL BLOCKS FOR L2
| MAIN DISTR TB L3 |  | MAIN DISTRIBUTION TERMINAL BLOCKS FOR L3
| MAIN DISTR TB PE |  | MAIN DISTRIBUTION TERMINAL BLOCKS FOR PE
| CTRL BRKR IPC & MAIN CPLR LOG |  | CONTROL BREAKER FOR IPC & MAIN COUPLER LOGIC
| CTRL BRKR HMI PC PWR |  | CONTROL BREAKER FOR HMI PC POWER
CONTROL MAIN RELAY
| CTRL BRKR MAIN CPLR PWR |  | CONTROL BREAKER FOR MAIN IO COUPLER POWER
| CTRL BRKR SERVO CPLR LOG & JNC PWR |  | CONTROL BREAKER FOR SERVO COUPLER LOGIC & JUNCTION POWER
| CTRL BRKR SERVO CPLR PWR |  | CONTROL BREAKER FOR SERVO COUPLER POWER
| CTRL BRKR CHA CPLR LOG |  | CONTROL BREAKER FOR CHAMBER COUPLER LOGIC
| CTRL BRKR CHA CPLR PWR |  | CONTROL BREAKER FOR CHAMBER COUPLER POWER
| CTRL PSU IPC & MAIN CPLR LOG |  | CONTROL PSU FOR IPC & MAIN COUPLER LOGIC
| CTRL UPS IPC POWER |  | CONTROL UPS FOR IPC POWER
| CTRL IPC |  | CONTROL IPC
| HMI_PC |  | HMI PC
| CTRL PSU MAIN CPLR PWR |  | CONTROL PSU FOR MAIN COUPLER POWER
| EK1100 ETHERCAT COUPLER |  | CONTROL MAIN COUPLER
| CTRL TB L1 |  | CONTROL TERMINAL BLOCKS FOR L1
| CTRL TB VALVE & MAIN CPLR PWR 24V |  | CONTROL TERMINAL BLOCK FOR VALVE & MAIN COUPLER POWER 24V
| CTRL TB VALVE & MAIN CPLR PWR 0V |  | CONTROL TERMINAL BLOCK FOR VALVE & MAIN COUPLER POWER 0V
| CTRL TB PE |  | CONTROL TERMINAL BLOCKS FOR PE
| CTRL IO CARD EL1918 DI SAFETY |  | CONTROL IO CARD EL1918 DIGITAL INPUT FOR SAFETY
| EL1008 DIGITAL INPUT |  | CONTROL IO CARD EL1008 DIGITAL INPUT FOR VALVES ACTUAL
| CTRL IO CARD EL2008 DO VALVES CMD |  | CONTROL IO CARD EL2008 DIGITAL OUTPUT FOR VALVES OPEN CMD
| CTRL TB IPC PWR & MAIN CPLR LOG 24V |  | CONTROL TERMINAL BLOCK FOR IPC POWER & MAIN COUPLER LOGIC 24V
| CTRL TB IPC PWR & MAIN CPLR LOG 0V |  | CONTROL TERMINAL BLOCK FOR IPC POWER & MAIN COUPLER LOGIC 0V
ESTOP | E_STOP_.ACT |  | E-STOP ACTUAL
ESTOP | E_STOP_.RESET_REQ |  | E-STOP RESET BUTTON REQUEST
ESTOP | E_STOP_.ERR_ACK_REQ |  | E-STOP ERR ACKNOWLEDGED REQUEST
ESTOP | E_STOP_.RUN_REQ |  | E-STOP RUN REQUEST
ESTOP | E_STOP_.FSOE_1_REQ |  | E-STOP FAIL SAFE OVER ETHERCAT AMPLIFIER 1 REQUEST
ESTOP | E_STOP_.FSOE_2_REQ |  | E-STOP FAIL SAFE OVER ETHERCAT AMPLIFIER 2 REQUEST
ESTOP | E_STOP_.FSOE_3_REQ |  | E-STOP FAIL SAFE OVER ETHERCAT AMPLIFIER 3 REQUEST
ESTOP | E_STOP_.FSOE_1_ACT |  | E-STOP FAIL SAFE OVER ETHERCAT AMPLIFIER 1 ACTUAL
ESTOP | E_STOP_.FSOE_2_ACT |  | E-STOP FAIL SAFE OVER ETHERCAT AMPLIFIER 2 ACTUAL
ESTOP | E_STOP_.FSOE_3_ACT |  | E-STOP FAIL SAFE OVER ETHERCAT AMPLIFIER 3 ACTUAL
ESTOP | E_STOP_IN_1 |  | E-STOP INPUT 1
ESTOP | E_STOP_IN_2 |  | E-STOP INPUT 2
| CTRL MAN PNE |  | CONTROL MANIFOLD FOR PNEUMATICS
| CTRL IO CARD EL1008 DI VALVES & GUN ACT |  | CONTROL IO CARD EL1008 DIGITAL INPUT FOR VALVES & GUN ACTUAL
| CTRL IO CARD EL1008 DI DOOR, RT, & PNE PS ACT |  | CONTROL IO CARD EL1008 DIGITAL INPUT FOR DOOR, RUNOUT TABLE, & PNEUMATIC PRESSURE SENSOR ACTUAL
RESERVED
| CTRL IO CARD EL2008 DO GUN, DOOR, & RT CMD |  | CONTROL IO CARD EL2008 DIGITAL OUTPUT FOR GUN, DOOR, & RUNOUT TABLE COMMAND
RESERVED
RESERVED
RESERVED
Y1 | VAC_.Y1_REQ |  | VACUUM Y1 REQUEST
Y1 | VAC_.Y1_IND |  | VACUUM Y1 INDICATOR
Y1 | VAC_.Y1_OPEN_ACT | 4_A2020 9_K2032 | VACUUM Y1 OPEN ACTUAL
Y1 | VAC_.Y1_CLS_ACT | 4_A2020 9_K2033 | VACUUM Y1 CLOSE ACTUAL
Y1 | VAC_.Y1_OPEN_CMD | 4_A2021 9_K2034 | VACUUM Y1 OPEN CMD
Y1 | VAC_.Y1_OPEN_ACT | 4_A2020 9_K2032 | VACUUM Y1 SWITCH FOR OPEN ACTUAL
Y1 | VAC_.Y1_CLS_ACT | 4_A2020 9_K2033 | VACUUM Y1 SWITCH FOR CLOSE ACTUAL
Y1 | VAC_.Y1_OPEN_CMD | 4_A2021 9_K2034 | VACUUM Y1 COIL FOR ACTUATOR COMMAND
Y3 | VAC_.Y3_REQ |  | VACUUM Y3 REQUEST
Y3 | VAC_.Y3_IND |  | VACUUM Y3 INDICATOR
Y3 | VAC_.Y3_OPEN_ACT | 4_A2020 9_K2035 | VACUUM Y3 OPEN ACTUAL
Y3 | VAC_.Y3_CLS_ACT | 4_A2020 9_K2036 | VACUUM Y3 CLOSE ACTUAL
Y3 | VAC_.Y3_OPEN_CMD | 4_A2021 9_K2037 | VACUUM Y3 OPEN CMD
Y3 | VAC_.Y3_OPEN_ACT | 4_A2020 9_K2035 | VACUUM Y3 SWITCH FOR OPEN ACTUAL
Y3 | VAC_.Y3_CLS_ACT | 4_A2020 9_K2036 | VACUUM Y3 SWITCH FOR CLOSE ACTUAL
Y3 | VAC_.Y3_OPEN_CMD | 4_A2021 9_K2037 | VACUUM Y3 COIL FOR ACTUATOR COMMAND
Y5 | VAC_.Y5_REQ |  | VACUUM Y5 REQUEST
Y5 | VAC_.Y5_IND |  | VACUUM Y5 INDICATOR
Y5 | VAC_.Y5_OPEN_ACT | 4_A2020 9_K2041 | VACUUM Y5 OPEN ACTUAL
Y5 | VAC_.Y5_CLS_ACT | 4_A2020 9_K2042 | VACUUM Y5 CLOSE ACTUAL
Y5 | VAC_.Y5_OPEN_CMD | 4_A2021 9_K2043 | VACUUM Y5 OPEN CMD
Y5 | VAC_.Y5_OPEN_ACT | 4_A2020 9_K2041 | VACUUM Y5 SWITCH FOR OPEN ACTUAL
Y5 | VAC_.Y5_CLS_ACT | 4_A2020 9_K2042 | VACUUM Y5 SWITCH FOR CLOSE ACTUAL
Y5 | VAC_.Y5_OPEN_CMD | 4_A2021 9_K2043 | VACUUM Y5 COIL FOR ACTUATOR COMMAND
Y6 | VAC_.Y6_REQ |  | VACUUM Y6 REQUEST
Y6 | VAC_.Y6_IND |  | VACUUM Y6 INDICATOR
Y6 | VAC_.Y6_OPEN_ACT | 4_A2020 9_K2044 | VACUUM Y6 OPEN ACTUAL
Y6 | VAC_.Y6_CLS_ACT | 4_A2020 9_K2045 | VACUUM Y6 CLOSE ACTUAL
Y6 | VAC_.Y6_OPEN_CMD | 4_A2021 9_K2046 | VACUUM Y6 OPEN CMD
Y6 | VAC_.Y6_OPEN_ACT | 4_A2020 9_K2044 | VACUUM Y6 SWITCH FOR OPEN ACTUAL
Y6 | VAC_.Y6_CLS_ACT | 4_A2020 9_K2045 | VACUUM Y6 SWITCH FOR CLOSE ACTUAL
Y6 | VAC_.Y6_OPEN_CMD | 4_A2021 9_K2046 | VACUUM Y6 COIL FOR ACTUATOR COMMAND
Y10 | VAC_.Y10_REQ |  | VACUUM Y10 REQUEST
Y10 | VAC_.Y10_IND |  | VACUUM Y10 INDICATOR
Y10 | VAC_.Y10_OPEN_ACT | 4_A2025 9_K2047 | VACUUM Y10 OPEN ACTUAL
Y10 | VAC_.Y10_CLS_ACT | 4_A2025 9_K2048 | VACUUM Y10 CLOSE ACTUAL
Y10 | VAC_.Y10_OPEN_CMD | 4_A2021 9_K2049 | VACUUM Y10 OPEN CMD
Y10 | VAC_.Y10_OPEN_ACT | 4_A2025 9_K2047 | VACUUM Y10 SWITCH FOR OPEN ACTUAL
Y10 | VAC_.Y10_CLS_ACT | 4_A2025 9_K2048 | VACUUM Y10 SWITCH FOR CLOSE ACTUAL
Y10 | VAC_.Y10_OPEN_CMD | 4_A2021 9_K2049 | VACUUM Y10 COIL FOR ACTUATOR COMMAND
Y11 | VAC_.Y11_REQ |  | VACUUM Y11 REQUEST
Y11 | VAC_.Y11_IND |  | VACUUM Y11 INDICATOR
Y11 | VAC_.Y11_OPEN_ACT | 4_A2025 9_K2050 | VACUUM Y11 OPEN ACTUAL
Y11 | VAC_.Y11_CLS_ACT | 4_A2025 9_K2051 | VACUUM Y11 CLOSE ACTUAL
Y11 | VAC_.Y11_OPEN_CMD | 4_A2021 9_K2052 | VACUUM Y11 OPEN CMD
Y11 | VAC_.Y11_OPEN_ACT | 4_A2025 9_K2050 | VACUUM Y11 SWITCH FOR OPEN ACTUAL
Y11 | VAC_.Y11_CLS_ACT | 4_A2025 9_K2051 | VACUUM Y11 SWITCH FOR CLOSE ACTUAL
Y11 | VAC_.Y11_OPEN_CMD | 4_A2021 9_K2052 | VACUUM Y11 COIL FOR ACTUATOR COMMAND
Y12 | VAC_.Y12_REQ |  | VACUUM Y12 REQUEST
Y12 | VAC_.Y12_IND |  | VACUUM Y12 INDICATOR
Y12 | VAC_.Y12_OPEN_ACT | 4_A2025 9_K2053 | VACUUM Y12 OPEN ACTUAL
Y12 | VAC_.Y12_CLS_ACT | 4_A2025 9_K2054 | VACUUM Y12 CLOSE ACTUAL
Y12 | VAC_.Y12_OPEN_CMD | 4_A2021 9_K2055 | VACUUM Y12 OPEN CMD
Y12 | VAC_.Y12_OPEN_ACT | 4_A2025 9_K2053 | VACUUM Y12 SWITCH FOR OPEN ACTUAL
Y12 | VAC_.Y12_CLS_ACT | 4_A2025 9_K2054 | VACUUM Y12 SWITCH FOR CLOSE ACTUAL
Y12 | VAC_.Y12_OPEN_CMD | 4_A2021 9_K2055 | VACUUM Y12 COIL FOR ACTUATOR COMMAND
GUN | GUN_.LIFT_REQ |  | GUN LIFT REQUEST
GUN | GUN_.LIFT_IND |  | GUN LIFT INDICATOR
GUN | GUN_.LIFT_ACT | 4_A2025 9_K2069 | GUN LIFT ACTUAL
GUN | GUN_.LIFT_CMD | 4_A2028 9_K2070 | GUN LIFT CMD
GUN | GUN_.DOWN_ACT | 4_A2025 9_K2071 | GUN DOWN ACTUAL
GUN | GUN_.DOWN_CMD | 4_A2028 9_K2072 | GUN DOWN CMD
GUN | GUN_.LIFT_ACT | 4_A2025 9_K2069 | GUN SWITCH FOR LIFT ACTUAL
GUN | GUN_.LIFT_CMD | 4_A2028 9_K2070 | GUN COIL FOR LIFT ACTUATOR COMMAND
GUN | GUN_.DOWN_ACT | 4_A2025 9_K2071 | GUN SWITCH FOR DOWN ACTUAL
GUN | GUN_.DOWN_CMD | 4_A2028 9_K2072 | GUN COIL FOR DOWN ACTUATOR COMMAND
LEFT DOOR | LD_.IN_REQ |  | LEFT DOOR IN REQUEST
LEFT DOOR | LD_.IN_IND |  | LEFT DOOR IN INDICATOR
LEFT DOOR | LD_.IN_ACT |  | LEFT DOOR IN ACTUAL
LEFT DOOR | LD_.IN_CMD |  | LEFT DOOR IN CMD
LEFT DOOR | LD_.OUT_ACT |  | LEFT DOOR OUT ACTUAL
LEFT DOOR | LD_.OUT_CMD |  | LEFT DOOR OUT CMD
LEFT DOOR | LD_.IN_ACT |  | LEFT DOOR SWITCH FOR IN ACTUAL
LEFT DOOR | LD_.IN_CMD |  | LEFT DOOR COIL FOR IN ACTUATOR COMMAND
LEFT DOOR | LD_.OUT_ACT |  | LEFT DOOR SWITCH FOR OUT ACTUAL
LEFT DOOR | LD_.OUT_CMD |  | LEFT DOOR COIL FOR OUT ACTUATOR COMMAND
RIGHT DOOR | RD_.IN_REQ |  | RIGHT DOOR IN REQUEST
RIGHT DOOR | RD_.IN_IND |  | RIGHT DOOR IN INDICATOR
RIGHT DOOR | RD_.IN_ACT |  | RIGHT DOOR IN ACTUAL
RIGHT DOOR | RD_.IN_CMD |  | RIGHT DOOR IN CMD
RIGHT DOOR | RD_.OUT_ACT |  | RIGHT DOOR OUT ACTUAL
RIGHT DOOR | RD_.OUT_CMD |  | RIGHT DOOR OUT CMD
RIGHT DOOR | RD_.IN_ACT |  | RIGHT DOOR SWITCH FOR IN ACTUAL
RIGHT DOOR | RD_.IN_CMD |  | RIGHT DOOR COIL FOR IN ACTUATOR COMMAND
RIGHT DOOR | RD_.OUT_ACT |  | RIGHT DOOR SWITCH FOR OUT ACTUAL
RIGHT DOOR | RD_.OUT_CMD |  | RIGHT DOOR COIL FOR OUT ACTUATOR COMMAND
RUNOUT TABLE | RUN_TAB_.IN_REQ |  | RUNOUT TABLE IN REQUEST
RUNOUT TABLE | RUN_TAB_.IN_IND |  | RUNOUT TABLE IN INDICATOR
RUNOUT TABLE | RUN_TAB_.IN_ACT |  | RUNOUT TABLE IN ACTUAL
RUNOUT TABLE | RUN_TAB_.IN_CMD |  | RUNOUT TABLE IN CMD
RUNOUT TABLE | RUN_TAB_.OUT_ACT |  | RUNOUT TABLE OUT ACTUAL
RUNOUT TABLE | RUN_TAB_.OUT_CMD |  | RUNOUT TABLE OUT CMD
RUNOUT TABLE | RUN_TAB.IN_ACT |  | RUNOUT TABLE SWITCH FOR IN ACTUAL
RUNOUT TABLE | RUN_TAB.IN_CMD |  | RUNOUT TABLE COIL FOR IN ACTUATOR COMMAND
RUNOUT TABLE | RUN_TAB.OUT_ACT |  | RUNOUT TABLE SWITCH FOR OUT ACTUAL
RUNOUT TABLE | RUN_TAB.OUT_CMD |  | RUNOUT TABLE COIL FOR OUT ACTUATOR COMMAND
VACUUM | VAC_.PNE_ERR_ACT |  | VACUUM PNEUMATIC ERROR ACTUAL
VACUUM | VAC_.PNE_ERR_ACT |  | VACUUM PNEUMATIC PRESSURE SENSOR
HMI |  |  | HMI DISPLAY
| E_STOP_.ACT |  | ESTOP
BEAM 1 BREAKER AC HVPSU MASTER
BEAM 1 BREAKER AC HVPSU SLAVE
BEAM 1 CONTACTOR AC HVPSU MASTER | BEAM1
BEAM 1 CONTACTOR AC HVPSU SLAVE | BEAM1
BEAM1 HVPSU AC MASTER COMMAND | BEAM1
BEAM1 HVPSU AC SLAVE COMMAND | BEAM1
BEAM1 HVPSU AC REQUEST | BEAM1
RESERVED - BEAM 2 HVPSU MASTER
RESERVED - BEAM 2 HVPSU SLAVE
RESERVED - BEAM 3 HVPSU MASTER
RESERVED - BEAM 3 HVPSU SLAVE
RESERVED - BEAM 4 HVPSU MASTER
RESERVED - BEAM 4 HVPSU SLAVE
RESERVED - BEAM 5 HVPSU MASTER
RESERVED - BEAM 5 HVPSU SLAVE
RESERVED - BEAM 6 HVPSU MASTER
RESERVED - BEAM 6 HVPSU SLAVE
RESERVED - BEAM 7 HVPSU MASTER
RESERVED - BEAM 7 HVPSU SLAVE
RESERVED - BEAM 8 HVPSU MASTER
RESERVED - BEAM 8 HVPSU SLAVE
RESERVED - BEAM 9 HVPSU MASTER
RESERVED - BEAM 9 HVPSU SLAVE
RESERVED - BEAM 11 HVPSU MASTER
RESERVED - BEAM 11 HVPSU SLAVE
RESERVED - BEAM 12 HVPSU MASTER
RESERVED - BEAM 12 HVPSU SLAVE